## Sheet1
RA | Station ID | WMO ID or NWS/CMAN ID | Station Long Name | Station Description | Latitude (dec deg) | Longitude (dec deg) | Platform Type | Station Deployment (mm/yyyy, yyyy, < 5 yr, > 5 yr) | Currently Operational? (Y, N, O, U) | Platform Funder/Sponsor | RA Funding Involvement (Yf, Yp, N) | Platform Operator/Owner | Operator Sector | Platform Maintainer | Data Manager | Variable Names + water column depth of measurement in meters [CF_name (# m, # m) or CF_name (mult) or CF_name (# depths)]. | Additional notes
SCCOOS | SW | TNWC1 | Stearns Wharf | Automated Shore Station | 34.4107 | -119.6874 | fixed | 2005 | Y | SCCOOS | Yf | UCSD | Academic | UCSD | Southern California Coastal Ocean Observing System (SCCOOS) | sea_water_temperature (2m), sea_water_pressure (2m), mass_concentration_of_chlorophyll_in_sea_water (2m), sea_water_electrical_conductivity (2m) | WMO ID In process. operated by Melissa Carter
SCCOOS | SMP | NA | Santa Monica Pier | Automated Shore Station | 34.0086 | -118.4986 | fixed | 2005 | Y | SCCOOS/City of LA/Santa Monica Bay Foundation | Yp | UCSD | Academic | UCSD | Southern California Coastal Ocean Observing System (SCCOOS) | sea_water_temperature (2m), sea_water_pressure (2m), mass_concentration_of_chlorophyll_in_sea_water (2m), sea_water_electrical_conductivity (2m) | WMO ID In process. operated by Melissa Carter
SCCOOS | NBP | NEWC1 | Newport Beach Pier | Automated Shore Station | 33.6073 | -117.9289 | fixed | 2005 | Y | SCCOOS | Yf | UCSD | Academic | UCSD | Southern California Coastal Ocean Observing System (SCCOOS) | sea_water_temperature (2m), sea_water_pressure (2m), mass_concentration_of_chlorophyll_in_sea_water (2m), sea_water_electrical_conductivity (2m) | WMO ID In process. operated by Melissa Carter
SCCOOS | SP | LJSC1 | Scripps Pier | Automated Shore Station | 32.867 | -117.257 | fixed | 2005 | Y | SCCOOS | Yf | UCSD | Academic | UCSD | Southern California Coastal Ocean Observing System (SCCOOS) | sea_water_temperature (2m), sea_water_pressure (2m), mass_concentration_of_chlorophyll_in_sea_water (2m), sea_water_electrical_conductivity (2m) | WMO ID In process. operated by Melissa Carter
SCCOOS | SP | LJSC1 | Scripps Pier | OAH Monitoring (SASS with SCS) | 32.867 | -117.257 | fixed | 2022 | Y | SCCOOS | Yf | UCSD | Academic | UCSD | Southern California Coastal Ocean Observing System (SCCOOS) | pH, dissolved_oxygen, temperature, conductivity, pressure | Self-calibrating seaphox. PI: Todd Martz
SCCOOS | SMP | NA | Santa Monica Pier | OAH Monitoring (SASS with SCS) | 34.0086 | -118.4986 | fixed | 2024 | Y | SCCOOS | Yf | UCSD | Academic | UCSD | Southern California Coastal Ocean Observing System (SCCOOS) | pH, dissolved_oxygen, temperature, conductivity, pressure | Self-calibrating seaphox. PI: Todd Martz
SCCOOS | CPP | NA | Cal Poly Pier | Harmful Algae Bloom monitoring program station | 35.17 | -120.741 | sampling_location | 2005 | Y | SCCOOS | Yf | UCSD | Academic | Cal Poly | Southern California Coastal Ocean Observing System (SCCOOS) | sea_water_temperature, mass_concentration_of_chlorophyll_in_sea_water, mole_concentration_of_nitrate_in_sea_water, mole_concentration_of_nitrite_in_sea_water, mole_concentration_of_ammonium_in_sea_water, mole_concentration_of_silicate_in_sea_water, mole_concentration_of_phosphate_in_sea_water, mole_concentration_of_phaeophytin_in_sea_water, domoic_acid, Pseudo-nitzschia_delicatissima_group, Pseudo-nitzschia seriata_group, Alexandrium_spp, Ceratium_spp, Cochlodinium_spp, Dinophysis_spp, Gymnodinium_spp, Lingulodinium_polyedrum, Prorocentrum_spp | Data management under development haven't applied for a WMO ID yet. Operated by Ryan Walters
SCCOOS | SW | NA | Stearns Wharf | Harmful Algae Bloom monitoring program station | 34.4107 | -119.6874 | sampling_location | 2005 | Y | SCCOOS | Yf | UCSD | Academic | UCSB | Southern California Coastal Ocean Observing System (SCCOOS) | sea_water_temperature, mass_concentration_of_chlorophyll_in_sea_water, mole_concentration_of_nitrate_in_sea_water, mole_concentration_of_nitrite_in_sea_water, mole_concentration_of_ammonium_in_sea_water, mole_concentration_of_silicate_in_sea_water, mole_concentration_of_phosphate_in_sea_water, mole_concentration_of_phaeophytin_in_sea_water, domoic_acid, Pseudo-nitzschia_delicatissima_group, Pseudo-nitzschia seriata_group, Alexandrium_spp, Ceratium_spp, Cochlodinium_spp, Dinophysis_spp, Gymnodinium_spp, Lingulodinium_polyedrum, Prorocentrum_spp | Data management under development haven't applied for a WMO ID yet. Operated by Mark Brezezinski
SCCOOS | SMP | NA | Santa Monica Pier | Harmful Algae Bloom monitoring program station | 34.0086 | -118.4986 | sampling_location | 2005 | Y | SCCOOS | Yf | UCSD | Academic | UCLA | Southern California Coastal Ocean Observing System (SCCOOS) | sea_water_temperature, mass_concentration_of_chlorophyll_in_sea_water, mole_concentration_of_nitrate_in_sea_water, mole_concentration_of_nitrite_in_sea_water, mole_concentration_of_ammonium_in_sea_water, mole_concentration_of_silicate_in_sea_water, mole_concentration_of_phosphate_in_sea_water, mole_concentration_of_phaeophytin_in_sea_water, domoic_acid, Pseudo-nitzschia_delicatissima_group, Pseudo-nitzschia seriata_group, Alexandrium_spp, Ceratium_spp, Cochlodinium_spp, Dinophysis_spp, Gymnodinium_spp, Lingulodinium_polyedrum, Prorocentrum_spp | Data management under development haven't applied for a WMO ID yet. Operated by Rebecca Shipe
SCCOOS | NBP | NA | Newport Beach Pier | Harmful Algae Bloom monitoring program station | 33.6073 | -117.9289 | sampling_location | 2005 | Y | SCCOOS | Yf | UCSD | Academic | USC | Southern California Coastal Ocean Observing System (SCCOOS) | sea_water_temperature, mass_concentration_of_chlorophyll_in_sea_water, mole_concentration_of_nitrate_in_sea_water, mole_concentration_of_nitrite_in_sea_water, mole_concentration_of_ammonium_in_sea_water, mole_concentration_of_silicate_in_sea_water, mole_concentration_of_phosphate_in_sea_water, mole_concentration_of_phaeophytin_in_sea_water, domoic_acid, Pseudo-nitzschia_delicatissima_group, Pseudo-nitzschia seriata_group, Alexandrium_spp, Ceratium_spp, Cochlodinium_spp, Dinophysis_spp, Gymnodinium_spp, Lingulodinium_polyedrum, Prorocentrum_spp | Data management under development haven't applied for a WMO ID yet. Operated by Dave Caron
SCCOOS | SP | NA | Scripps Pier | Harmful Algae Bloom monitoring program station | 32.867 | -117.257 | sampling_location | 2005 | Y | SCCOOS | Yf | UCSD | Academic | UCSD | Southern California Coastal Ocean Observing System (SCCOOS) | sea_water_temperature, mass_concentration_of_chlorophyll_in_sea_water, mole_concentration_of_nitrate_in_sea_water, mole_concentration_of_nitrite_in_sea_water, mole_concentration_of_ammonium_in_sea_water, mole_concentration_of_silicate_in_sea_water, mole_concentration_of_phosphate_in_sea_water, mole_concentration_of_phaeophytin_in_sea_water, domoic_acid, Pseudo-nitzschia_delicatissima_group, Pseudo-nitzschia seriata_group, Alexandrium_spp, Ceratium_spp, Cochlodinium_spp, Dinophysis_spp, Gymnodinium_spp, Lingulodinium_polyedrum, Prorocentrum_spp | Data management under development haven't applied for a WMO ID yet. Operated by Melissa Carter
SCCOOS | SW |  | Stearns Wharf | CA IFCB Network | 34.4107 | -119.6874 | fixed | 2020 | Y | SCCOOS | Yf | UCSD | Academic | UCSB | Southern California Coastal Ocean Observing System (SCCOOS) | images | IFCB purchased with funds from OPC; O&M from SCCOOS
SCCOOS | NBP |  | Newport Beach Pier | CA IFCB Network | 33.6073 | -117.9289 | fixed | 2020 | Y | SCCOOS | Yf | UCSD | Academic | UCSD | Southern California Coastal Ocean Observing System (SCCOOS) | images | IFCB purchased with funds from OPC; O&M from SCCOOS
SCCOOS | SP |  | Scripps Pier | CA IFCB Network | 32.867 | -117.257 | fixed |  | Y | SCCOOS | Yp | UCSD | Academic | UCSD | Southern California Coastal Ocean Observing System (SCCOOS) | images | IFCB purchased with funds from NOAA ECOHAB and Simons Foundation; O&M from SCCOOS
SCCOOS | DMM |  | Del Mar Mooring | CA IFCB Network | 32.938 | -117.326 | mooring | 2020 | Y | SCCOOS | Yf | UCSD | Academic | UCSD | Southern California Coastal Ocean Observing System (SCCOOS) | images | IFCB purchased with funds from OPC; O&M from SCCOOS
SCCOOS | M1 |  | Power Buoy/M1 | CA IFCB Network | 36.7511 | -122.0292 | mooring | 2020 | Y | SCCOOS/CeNCOOS | Yp | UCSD | Academic | MBARI | Southern California Coastal Ocean Observing System (SCCOOS) | images | IFCB purchased with funds from OPC; O&M from SCCOOS and CeNCOOS
SCCOOS | SCW |  | Santa Cruz Wharf | CA IFCB Network | 36.9615 | -122.0219 | fixed |  | Y | SCCOOS/CeNCOOS | Yp | UCSC | Academic | UCSC | Southern California Coastal Ocean Observing System (SCCOOS) | images | IFCB purchased with funds from NOAA to Raphe Kudela; O&M from SCCOOS and CeNCOOS
SCCOOS | BML |  | Bodega Marine Lab | CA IFCB Network | 38.3162 | -123.0695 | fixed | 2020 | Y | SCCOOS/CeNCOOS | Yp | UCSD | Academic | UCD | Southern California Coastal Ocean Observing System (SCCOOS) | images | IFCB purchased with funds from OPC; O&M from SCCOOS and CeNCOOS
SCCOOS | HI |  | Trinidad Pier/Hog Island | CA IFCB Network | 41.055 | -124.147 | fixed | 2020 | Y | SCCOOS/CeNCOOS | Yp | UCSD | Academic | Cal Poly Humboldt | Southern California Coastal Ocean Observing System (SCCOOS) | images | IFCB purchased with funds from OPC; O&M from SCCOOS and CeNCOOS
SCCOOS | NA |  | Santa Barbara | Southern California Acoustic Telemetry Tracking Network | 34.3975 | -119.5503 | buoy | 2025 | Y | SCCOOS | Yf | CSULB | Academic | CSULB | CSULB | sea_water_temperature (sfc and 10m depths), air_temperature, dissovled_oxygen (10 m depths), mass_concentration_of_chlorophyll_in_sea_water (10m depths)
SCCOOS | NA |  | Ventura | Southern California Acoustic Telemetry Tracking Network | 34.2562 | -119.2772 | buoy | 2024 | Y | SCCOOS | Yf | CSULB | Academic | CSULB | CSULB | sea_water_temperature (sfc and 10m depths), air_temperature, dissovled_oxygen (10 m depths), mass_concentration_of_chlorophyll_in_sea_water (10m depths) | Innovasea CB250 Data Buoy, aquaMeasure-DOT. Underwater Optical Wireless Sensor - Dissolved Oxygen, Temperature, Tilt. Underwater Wireless Sensor - Chlorophyll A (Blue Excitation), Temperature, Tilt (w/ Shade Cap). Incl Turner C-Fluor with Chlorophyl optics + factory installation and calibration. real-time acoustic transmitter and environmental data. Purchased with SCCOOS BIL funds. Operated by Chris Lowe, CSULB
SCCOOS | NA |  | Topanga Beach (Malibu) | Southern California Acoustic Telemetry Tracking Network | 34.0357 | -118.5785 | buoy | 2023 | Y | SCCOOS | Yf | CSULB | Academic | CSULB | CSULB | sea_water_temperature (sfc and 10m depths), air_temperature, dissovled_oxygen (10 m depths), mass_concentration_of_chlorophyll_in_sea_water (10m depths) | Innovasea CB250 Data Buoy, aquaMeasure-DOT. Underwater Optical Wireless Sensor - Dissolved Oxygen, Temperature, Tilt. Underwater Wireless Sensor - Chlorophyll A (Blue Excitation), Temperature, Tilt (w/ Shade Cap). Incl Turner C-Fluor with Chlorophyl optics + factory installation and calibration. real-time acoustic transmitter and environmental data. Purchased with SCCOOS BIL funds. Operated by Chris Lowe, CSULB
SCCOOS | NA |  | Redondo | Southern California Acoustic Telemetry Tracking Network | 33.8308 | -118.3969 | buoy |  | Y | SCCOOS | Yf | CSULB | Academic | CSULB | CSULB | sea_water_temperature (sfc and 10m depths), air_temperature, dissovled_oxygen (10 m depths), mass_concentration_of_chlorophyll_in_sea_water (10m depths) | Innovasea CB250 Data Buoy, aquaMeasure-DOT. Underwater Optical Wireless Sensor - Dissolved Oxygen, Temperature, Tilt. Underwater Wireless Sensor - Chlorophyll A (Blue Excitation), Temperature, Tilt (w/ Shade Cap). Incl Turner C-Fluor with Chlorophyl optics + factory installation and calibration. real-time acoustic transmitter and environmental data. Purchased with SCCOOS BIL funds. Operated by Chris Lowe, CSULB
SCCOOS | NA |  | Belmont | Southern California Acoustic Telemetry Tracking Network | 33.7488 | -118.1351 | buoy |  | Y |  | N | CSULB | Academic | CSULB | CSULB
SCCOOS | NA |  | Huntington Beach | Southern California Acoustic Telemetry Tracking Network | 33.712 | -118.0611 | buoy |  | Y |  | N | CSULB | Academic | CSULB | CSULB
SCCOOS | NA |  | Newport Beach | Southern California Acoustic Telemetry Tracking Network | 33.5901 | -117.8743 | buoy |  | Y |  |  | CSULB | Academic | CSULB | CSULB
SCCOOS | NA |  | San Onofre | Southern California Acoustic Telemetry Tracking Network | 33.3739 | -117.5846 | buoy | 2024 | Y | SCCOOS | Yf | CSULB | Academic | CSULB | CSULB | sea_water_temperature (sfc and 10m depths), air_temperature, dissovled_oxygen (10 m depths), mass_concentration_of_chlorophyll_in_sea_water (10m depths) | Innovasea CB250 Data Buoy, aquaMeasure-DOT. Underwater Optical Wireless Sensor - Dissolved Oxygen, Temperature, Tilt. Underwater Wireless Sensor - Chlorophyll A (Blue Excitation), Temperature, Tilt (w/ Shade Cap). Incl Turner C-Fluor with Chlorophyl optics + factory installation and calibration. real-time acoustic transmitter and environmental data. Purchased with SCCOOS BIL funds. Operated by Chris Lowe, CSULB
SCCOOS | NA |  | Oceanside | Southern California Acoustic Telemetry Tracking Network | 33.1943 | -117.3915 |  |  | Y |  | N | CSULB | Academic | CSULB | CSULB | sea_water_temperature (sfc and 10m depths), air_temperature, dissovled_oxygen (10 m depths), mass_concentration_of_chlorophyll_in_sea_water (10m depths) | Innovasea CB250 Data Buoy, aquaMeasure-DOT. Underwater Optical Wireless Sensor - Dissolved Oxygen, Temperature, Tilt. Underwater Wireless Sensor - Chlorophyll A (Blue Excitation), Temperature, Tilt (w/ Shade Cap). Incl Turner C-Fluor with Chlorophyl optics + factory installation and calibration. real-time acoustic transmitter and environmental data. Purchased with SCCOOS BIL funds. Operated by Chris Lowe, CSULB
SCCOOS | NA |  | Del Mar | Southern California Acoustic Telemetry Tracking Network | 32.962 | -117.2686 |  |  | Y |  | N | CSULB | Academic | CSULB | CSULB | sea_water_temperature (sfc and 10m depths), air_temperature, dissovled_oxygen (10 m depths), mass_concentration_of_chlorophyll_in_sea_water (10m depths) | Innovasea CB250 Data Buoy, aquaMeasure-DOT. Underwater Optical Wireless Sensor - Dissolved Oxygen, Temperature, Tilt. Underwater Wireless Sensor - Chlorophyll A (Blue Excitation), Temperature, Tilt (w/ Shade Cap). Incl Turner C-Fluor with Chlorophyl optics + factory installation and calibration. real-time acoustic transmitter and environmental data. Purchased with SCCOOS BIL funds. Operated by Chris Lowe, CSULB
SCCOOS | NA |  | Scripps Pier | Southern California Acoustic Telemetry Tracking Network | 32.8697 | -117.258 | buoy | 2023 | Y | SCCOOS | Yf | CSULB | Academic | CSULB | CSULB | sea_water_temperature (sfc and 10m depths), air_temperature, dissovled_oxygen (10 m depths), mass_concentration_of_chlorophyll_in_sea_water (10m depths) | Innovasea CB250 Data Buoy, aquaMeasure-DOT. Underwater Optical Wireless Sensor - Dissolved Oxygen, Temperature, Tilt. Underwater Wireless Sensor - Chlorophyll A (Blue Excitation), Temperature, Tilt (w/ Shade Cap). Incl Turner C-Fluor with Chlorophyl optics + factory installation and calibration. real-time acoustic transmitter and environmental data. Purchased with SCCOOS BIL funds. Operated by Chris Lowe, CSULB
SCCOOS | NA |  | Coronado North | Southern California Acoustic Telemetry Tracking Network | 32.6782 | -117.1873 |  |  | Y |  | N | CSULB | Academic | CSULB | CSULB | sea_water_temperature (sfc and 10m depths), air_temperature, dissovled_oxygen (10 m depths), mass_concentration_of_chlorophyll_in_sea_water (10m depths) | Innovasea CB250 Data Buoy, aquaMeasure-DOT. Underwater Optical Wireless Sensor - Dissolved Oxygen, Temperature, Tilt. Underwater Wireless Sensor - Chlorophyll A (Blue Excitation), Temperature, Tilt (w/ Shade Cap). Incl Turner C-Fluor with Chlorophyl optics + factory installation and calibration. real-time acoustic transmitter and environmental data. Purchased with SCCOOS BIL funds. Operated by Chris Lowe, CSULB
SCCOOS | NA |  | Coronado South | Southern California Acoustic Telemetry Tracking Network | 32.675 | -117.1814 |  |  | Y |  | N | CSULB | Academic | CSULB | CSULB | sea_water_temperature (sfc and 10m depths), air_temperature, dissovled_oxygen (10 m depths), mass_concentration_of_chlorophyll_in_sea_water (10m depths) | Innovasea CB250 Data Buoy, aquaMeasure-DOT. Underwater Optical Wireless Sensor - Dissolved Oxygen, Temperature, Tilt. Underwater Wireless Sensor - Chlorophyll A (Blue Excitation), Temperature, Tilt (w/ Shade Cap). Incl Turner C-Fluor with Chlorophyl optics + factory installation and calibration. real-time acoustic transmitter and environmental data. Purchased with SCCOOS BIL funds. Operated by Chris Lowe, CSULB
SCCOOS | NA | NA | Agua Hedionda Lagoon near Carlsbad Aquafarm | Burkeolator | 33.139 | -117.339 | fixed | 2014 | N | OAP/SCCOOS | Yf | OSU | Academic | UCSD | Southern California Coastal Ocean Observing System (SCCOOS) | total_alkalinity (1 m) CO2 (1 m), dissolved_inorganic_carbon (1 m), aragonite_saturation (1 m), sea_water_salinity (1 m), sea_water_temperature (1 m) | operated by Todd Martz
SCCOOS | NA | NA | Agua Hedionda Lagoon near Carlsbad Aquafarm | ACDC Gen 2 | 33.139 | -117.339 | fixed | 2018 | N | OAP/SCCOOS | Yf | UW | Academic | UCSD | Southern California Coastal Ocean Observing System (SCCOOS) | pCO2 (2 m) | operated by Todd Martz
SCCOOS | NA | NA | Agua Hedionda Lagoon near Carlsbad Aquafarm | SeapHOx | 33.139 | -117.339 | fixed | 2018-04-01 | N | OAP/SCCOOS | Yp | UCSD | Academic | UCSD | Southern California Coastal Ocean Observing System (SCCOOS) | pH, dissolved_oxygen, temperature, conductivity, pressure | operated by Todd Martz. pH, dissolved oxygen, temperature, conductivity, and pressure, and data are combined with an average total alkalinity from bottle samples to derive the saturation state of aragonite.
SCCOOS | NA | NA | Catalina Sea Ranch - NOMAD Buoy | ACDC Gen 1 | 33.3628 | -118.0628 | buoy | 2019 | N | OAP/SCCOOS | Yf | UCSD | Academic | UCSD | Southern California Coastal Ocean Observing System (SCCOOS) | pCO2 | operated by Todd Martz
SCCOOS | NA | NA | Del Mar Mooring | Mooring | 32.938 | -117.326 | mooring | 2006 | U - no longer funded | SCCOOS | N | UCSD | Academic | UCSD | Ocean Time Series Group | sea_water_temperature (35 m 90 m), sea_water_electrical_conductivity (35 m 90 m), dissovled_oxygen (35 m 90 m), mass_concentration_of_chlorophyll_in_sea_water (35 m 90 m) | Operated by Uwe Send
SCCOOS | NA | NA | Observing nutrient fluxes and their role in HAB development in the nearshore region of Southern California. | Wirewalker Profiling System | 32.938 | -117.326 | mooring | 2020 | N | SCCOOS | Yp | UCSD | Academic | UCSD | Andrew Lucas Lab | sea_water_temperature (2 m 100 m), sea_water_electrical_conductivity (2 m 95 m), mass_concentration_of_chlorophyll_in_sea_water (2 m 100 m), mass_concentration_of_particulates_in_sea_water (2 m 100 m), mole_concentration_of_nitrate_in_sea_water (2 m 100 m), | Operated by Lucas, Davis, Send

## IOOS Removals
AGL1 | NA | Point Arguello, LR | High Frequency Radar | 34.5769 | -120.6491 | surface_current_radar | 2008 | Y | SCCOOS | Yf | UCSD | Academic | Cal Poly SLO | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Ryan Walters
ARG1 | NA | Point Arguello, SR | High Frequency Radar | 34.5769 | -120.6505 | surface_current_radar | 2008 | Y | SCCOOS | Yf | UCSD | Academic | Cal Poly SLO | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Ryan Walters
COP1 | NA | Coal Oil Point Reserve | High Frequency Radar | 34.4078 | -119.8783 | surface_current_radar | 1996 | Y | SCCOOS | Yf | UCSD | Academic | UCSB | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Libe Washburn
DCLR | NA | Diablo Canyon, LR | High Frequency Radar | 35.2175 | -120.8626 | surface_current_radar | 2007 | Yp | SCCOOS/CeNCOOS | Yf | UCSD | Academic | Cal Poly | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Ryan Walters. Start 2021 funded by CeNCOOS
DCSR | NA | Diablo Canyon, SR | High Frequency Radar | 35.2024 | -120.8461 | surface_current_radar | 2007 | Yp | SCCOOS/CeNCOOS | Yf | UCSD | Academic | Cal Poly | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Ryan Walters. Start 2021 funded by CeNCOOS
ESTR | NA | Point Estero | High Frequency Radar | 35.4597 | -120.9776 | surface_current_radar | 2006 | Yp | SCCOOS/CeNCOOS | Yp | UCSD | Academic | Cal Poly | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Ryan Walters. Start 2021 funded by CeNCOOS
FBK1 | NA | Point Sal | High Frequency Radar | 34.8698 | -120.6212 | surface_current_radar | 2007 | Y | SCCOOS | Yf | UCSD | Academic | Cal Poly | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Ryan Walters
LUIS | NA | Point San Luis | High Frequency Radar | 35.1601 | -120.7564 | surface_current_radar | 2007 | Y | SCCOOS | Yf | UCSD | Academic | Cal Poly | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Ryan Walters
MGS1 | NA | Mandalay Power Generating Station | High Frequency Radar | 34.2049 | -119.2516 | surface_current_radar | 1996 | Y | SCCOOS | Yf | UCSD | Academic | UCSB | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Libe Washburn
NIC1 | NA | Nicholas Canyon State Beach | High Frequency Radar | 34.0424 | -118.9153 | surface_current_radar | 2010 | Y | SCCOOS | Yf | UCSD | Academic | UCSB | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Libe Washburn
PTC1 | NA | Point Conception | High Frequency Radar | 34.4483 | -120.4717 | surface_current_radar | 2008 | Y | SCCOOS | Yf | UCSD | Academic | Cal Poly | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Ryan Walters
PTM1 | NA | Point Mugu Naval Base | High Frequency Radar | 34.0961 | -119.1074 | surface_current_radar | 2001 | Y | SCCOOS | Yf | UCSD | Academic | UCSB | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Libe Washburn
RAGG | NA | Ragged Point | High Frequency Radar | 35.7874 | -121.3363 | surface_current_radar | 2006 | N | SCCOOS | Yf | UCSD | Academic | Cal Poly | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Ryan Walters
RFG1 | NA | Refugio Sate Beach | High Frequency Radar | 34.4612 | -120.0767 | surface_current_radar | 2006 | Y | SCCOOS | Yf | UCSD | Academic | UCSB | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Libe Washburn
SCCI | NA | Catalina Island | High Frequency Radar | 33.4468 | -118.4782 | surface_current_radar | 2005 | Y | SCCOOS | Yf | UCSD | Academic | USC | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by John Heidelberg
SCDB | NA | Dan Blocker | High Frequency Radar | 34.0333 | -118.7337 | surface_current_radar | 2008 | Y | SCCOOS | Yf | UCSD | Academic | USC | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by John Heidelberg
SCDH | NA | Dockweiler Headquarters | High Frequency Radar | 33.9333 | -118.4424 | surface_current_radar | 2006 | Y | SCCOOS | Yf | UCSD | Academic | USC | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by John Heidelberg
SCI1 | NA | Santa Cruz Island Navy Site | High Frequency Radar | 33.9948 | -119.6312 | surface_current_radar | 2008 | Y | SCCOOS | Yf | UCSD | Academic | UCSB | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Libe Washburn
SCNB | NA | Newport Beach | High Frequency Radar | 33.606 | -117.9314 | surface_current_radar | 2005 | Y | SCCOOS | Yf | UCSD | Academic | USC | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by John Heidelberg
SCPF | NA | Point Fermin | High Frequency Radar | 33.7049 | -118.294 | surface_current_radar | 2005 | Y | SCCOOS | Yf | UCSD | Academic | USC | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by John Heidelberg
SCTB | NA | Torrance Beach | High Frequency Radar | 33.8117 | -118.3914 | surface_current_radar | 2007 | Y | SCCOOS | Yf | UCSD | Academic | USC | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by John Heidelberg
SDBP | NA | Border Field State Park | High Frequency Radar | 32.5359 | -117.1223 | surface_current_radar | 2007 | Y | SCCOOS | Yf | UCSD | Academic | UCSD | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Eric Terrill
SDCI | NA | Coronado Island | High Frequency Radar | 32.4141 | -117.2437 | surface_current_radar | 2014 | Y | SCCOOS | Yf | UCSD | Academic | UCSD | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Eric Terrill
SDCP | NA | Camp Pendleton South | High Frequency Radar | 33.2184 | -117.4053 | surface_current_radar | 2002 | Y | SCCOOS | Yf | UCSD | Academic | UCSD | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Eric Terrill
SDDP | NA | Dana Point | High Frequency Radar | 33.4607 | -117.7067 | surface_current_radar | 2006 | Y | SCCOOS | Yf | UCSD | Academic | UCSD | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Eric Terrill
SDPL | NA | Point Loma | High Frequency Radar | 32.6658 | -117.2396 | surface_current_radar | 2002 | Y | SCCOOS | Yf | UCSD | Academic | UCSD | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Eric Terrill
SDSC | NA | San Clemente | High Frequency Radar | 32.9177 | -118.4869 | surface_current_radar | 2004 | Y | SCCOOS | Yf | UCSD | Academic | UCSD | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Eric Terrill
SDSE | NA | San Elijo State Beach | High Frequency Radar | 33.0245 | -117.2861 | surface_current_radar | 2006 | Y | SCCOOS | Yf | UCSD | Academic | UCSD | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Eric Terrill
SDSL | NA | Point Loma Long Range (at SIO) | High Frequency Radar | 32.8694 | -117.2532 | surface_current_radar | 2005 | Y | SCCOOS | Yf | UCSD | Academic | UCSD | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Eric Terrill
SDSN |  | San Clemente Island North, CA | High Frequency Radar | 33.0298 | -118.597 | surface_current_radar | 2020 | Y | SCCOOS | Yf | UCSD
SDUT | NA | Upper Trestles (old: 25MHz Camp Pendleton (North-SDSM)) | High Frequency Radar | 33.3884 | -117.5957 | surface_current_radar | 2008 | Y | SCCOOS | Yf | UCSD | Academic | UCSD | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Eric Terrill
SDWW | NA | Wastewater Treatment Plant, Point Loma | High Frequency Radar | 32.6799 | -117.2474 | surface_current_radar | 2007 | Y | SCCOOS | Yf | UCSD | Academic | UCSD | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Eric Terrill
SNI1 | NA | San Nicolas Island Navy | High Frequency Radar | 33.2805 | -119.5225 | surface_current_radar | 2006 | Y | SCCOOS | Yf | UCSD | Academic | UCSB | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Libe Washburn
SSD1 | NA | Summerland Sanitary District | High Frequency Radar | 34.419 | -119.5961 | surface_current_radar | 2006 | Y | SCCOOS | Yf | UCSD | Academic | UCSB | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Libe Washburn
TRL1 | NA | Emergency Trailer | High Frequency Radar | NA | NA | surface_current_radar | 1996 | N | SCCOOS | Yf | UCSD | Academic | UCSB | Coastal Observing Research and Development Center (CORDC) | surface_currents radial_velocity | no WMO is needed as HFR deals in radials not total vectors. Operated by Libe Washburn
93.4 | NA | 2 | CalCOFI nearshore sampling station | 32.949 | -117.2736 | ship | 2004 | U | NOAA | Yp | UCSD | Academic | UCSD | California Cooperative Oceanic Fisheries Investigations (CalCOFI) | sea_water_temperature (sfc and 2 depths), sea_water_electrical_conductivity (sfc and 2 depths), dissovled_oxygen (sfc and 2 depths), mass_concentration_of_chlorophyll_in_sea_water (sfc and 2 depths), mole_concentration_of_dissolved_inorganic_carbon_in_sea_water (sfc and 2 depths), mole_concentration_of_nitrate_in_sea_water (sfc and 2 depths), downwelling_photosynthetic_radiance_in_sea_water (sfc and 2 depths), sea_water_speed (sfc and 2 depths), sea_surface_wave_directional_spread (sfc), sea_surface_swell_wave_period (sfc), sea_surface_wave_hieght (sfc), phaeophytin (sfc and 2 depths), HPLC_phytoplankton (sfc and 2 depths), zooplankton (sfc and 2 depths), latitude (sfc), longitude (sfc) | SCCOOS no longer supporting nearshore stations. Now funded by NOAA SWFSC
91.7 | NA | 3 | CalCOFI nearshore sampling station | 33.2435 | -117.4654 | ship | 2004 | U | NOAA | Yp | UCSD | Academic | UCSD | California Cooperative Oceanic Fisheries Investigations (CalCOFI) | sea_water_temperature (sfc and 2 depths), sea_water_electrical_conductivity (sfc and 2 depths), dissovled_oxygen (sfc and 2 depths), mass_concentration_of_chlorophyll_in_sea_water (sfc and 2 depths), mole_concentration_of_dissolved_inorganic_carbon_in_sea_water (sfc and 2 depths), mole_concentration_of_nitrate_in_sea_water (sfc and 2 depths), downwelling_photosynthetic_radiance_in_sea_water (sfc and 2 depths), sea_water_speed (sfc and 2 depths), sea_surface_wave_directional_spread (sfc), sea_surface_swell_wave_period (sfc), sea_surface_wave_hieght (sfc), phaeophytin (sfc and 2 depths), HPLC_phytoplankton (sfc and 2 depths), zooplankton (sfc and 2 depths), latitude (sfc), longitude (sfc) | SCCOOS no longer supporting nearshore stations. Now funded by NOAA SWFSC
90 | NA | 31 | CalCOFI nearshore sampling station | 33.4946 | -117.7474 | ship | 2004 | U | NOAA | Yp | UCSD | Academic | UCSD | California Cooperative Oceanic Fisheries Investigations (CalCOFI) | sea_water_temperature (sfc and 2 depths), sea_water_electrical_conductivity (sfc and 2 depths), dissovled_oxygen (sfc and 2 depths), mass_concentration_of_chlorophyll_in_sea_water (sfc and 2 depths), mole_concentration_of_dissolved_inorganic_carbon_in_sea_water (sfc and 2 depths), mole_concentration_of_nitrate_in_sea_water (sfc and 2 depths), downwelling_photosynthetic_radiance_in_sea_water (sfc and 2 depths), sea_water_speed (sfc and 2 depths), sea_surface_wave_directional_spread (sfc), sea_surface_swell_wave_period (sfc), sea_surface_wave_hieght (sfc), phaeophytin (sfc and 2 depths), HPLC_phytoplankton (sfc and 2 depths), zooplankton (sfc and 2 depths), latitude (sfc), longitude (sfc) | SCCOOS no longer supporting nearshore stations. Now funded by NOAA SWFSC
88.5 | NA | 32 | CalCOFI nearshore sampling station | 33.6744 | -118.0837 | ship | 2004 | U | NOAA | Yp | UCSD | Academic | UCSD | California Cooperative Oceanic Fisheries Investigations (CalCOFI) | sea_water_temperature (sfc and 2 depths), sea_water_electrical_conductivity (sfc and 2 depths), dissovled_oxygen (sfc and 2 depths), mass_concentration_of_chlorophyll_in_sea_water (sfc and 2 depths), mole_concentration_of_dissolved_inorganic_carbon_in_sea_water (sfc and 2 depths), mole_concentration_of_nitrate_in_sea_water (sfc and 2 depths), downwelling_photosynthetic_radiance_in_sea_water (sfc and 2 depths), sea_water_speed (sfc and 2 depths), sea_surface_wave_directional_spread (sfc), sea_surface_swell_wave_period (sfc), sea_surface_wave_hieght (sfc), phaeophytin (sfc and 2 depths), HPLC_phytoplankton (sfc and 2 depths), zooplankton (sfc and 2 depths), latitude (sfc), longitude (sfc) | SCCOOS no longer supporting nearshore stations. Now funded by NOAA SWFSC
86.8 | NA | 33 | CalCOFI nearshore sampling station | 33.8889 | -118.4442 | ship | 2004 | U | NOAA | Yp | UCSD | Academic | UCSD | California Cooperative Oceanic Fisheries Investigations (CalCOFI) | sea_water_temperature (sfc and 2 depths), sea_water_electrical_conductivity (sfc and 2 depths), dissovled_oxygen (sfc and 2 depths), mass_concentration_of_chlorophyll_in_sea_water (sfc and 2 depths), mole_concentration_of_dissolved_inorganic_carbon_in_sea_water (sfc and 2 depths), mole_concentration_of_nitrate_in_sea_water (sfc and 2 depths), downwelling_photosynthetic_radiance_in_sea_water (sfc and 2 depths), sea_water_speed (sfc and 2 depths), sea_surface_wave_directional_spread (sfc), sea_surface_swell_wave_period (sfc), sea_surface_wave_hieght (sfc), phaeophytin (sfc and 2 depths), HPLC_phytoplankton (sfc and 2 depths), zooplankton (sfc and 2 depths), latitude (sfc), longitude (sfc) | SCCOOS no longer supporting nearshore stations. Now funded by NOAA SWFSC
85.4 | NA | 36 | CalCOFI nearshore sampling station | 34.0214 | -118.8341 | ship | 2004 | U | NOAA | Yp | UCSD | Academic | UCSD | California Cooperative Oceanic Fisheries Investigations (CalCOFI) | sea_water_temperature (sfc and 2 depths), sea_water_electrical_conductivity (sfc and 2 depths), dissovled_oxygen (sfc and 2 depths), mass_concentration_of_chlorophyll_in_sea_water (sfc and 2 depths), mole_concentration_of_dissolved_inorganic_carbon_in_sea_water (sfc and 2 depths), mole_concentration_of_nitrate_in_sea_water (sfc and 2 depths), downwelling_photosynthetic_radiance_in_sea_water (sfc and 2 depths), sea_water_speed (sfc and 2 depths), sea_surface_wave_directional_spread (sfc), sea_surface_swell_wave_period (sfc), sea_surface_wave_hieght (sfc), phaeophytin (sfc and 2 depths), HPLC_phytoplankton (sfc and 2 depths), zooplankton (sfc and 2 depths), latitude (sfc), longitude (sfc) | SCCOOS no longer supporting nearshore stations. Now funded by NOAA SWFSC
83.3 | NA | 57 | CalCOFI nearshore sampling station | 34.2651 | -119.3278 | ship | 2004 | U | NOAA | Yp | UCSD | Academic | UCSD | California Cooperative Oceanic Fisheries Investigations (CalCOFI) | sea_water_temperature (sfc and 2 depths), sea_water_electrical_conductivity (sfc and 2 depths), dissovled_oxygen (sfc and 2 depths), mass_concentration_of_chlorophyll_in_sea_water (sfc and 2 depths), mole_concentration_of_dissolved_inorganic_carbon_in_sea_water (sfc and 2 depths), mole_concentration_of_nitrate_in_sea_water (sfc and 2 depths), downwelling_photosynthetic_radiance_in_sea_water (sfc and 2 depths), sea_water_speed (sfc and 2 depths), sea_surface_wave_directional_spread (sfc), sea_surface_swell_wave_period (sfc), sea_surface_wave_hieght (sfc), phaeophytin (sfc and 2 depths), HPLC_phytoplankton (sfc and 2 depths), zooplankton (sfc and 2 depths), latitude (sfc), longitude (sfc) | SCCOOS no longer supporting nearshore stations. Now funded by NOAA SWFSC
81.7 | NA | 58 | CalCOFI nearshore sampling station | 34.4055 | -119.8004 | ship | 2004 | U | NOAA | Yp | UCSD | Academic | UCSD | California Cooperative Oceanic Fisheries Investigations (CalCOFI) | sea_water_temperature (sfc and 2 depths), sea_water_electrical_conductivity (sfc and 2 depths), dissovled_oxygen (sfc and 2 depths), mass_concentration_of_chlorophyll_in_sea_water (sfc and 2 depths), mole_concentration_of_dissolved_inorganic_carbon_in_sea_water (sfc and 2 depths), mole_concentration_of_nitrate_in_sea_water (sfc and 2 depths), downwelling_photosynthetic_radiance_in_sea_water (sfc and 2 depths), sea_water_speed (sfc and 2 depths), sea_surface_wave_directional_spread (sfc), sea_surface_swell_wave_period (sfc), sea_surface_wave_hieght (sfc), phaeophytin (sfc and 2 depths), HPLC_phytoplankton (sfc and 2 depths), zooplankton (sfc and 2 depths), latitude (sfc), longitude (sfc) | SCCOOS no longer supporting nearshore stations. Now funded by NOAA SWFSC
80 | NA | 60 | CalCOFI nearshore sampling station | 34.4667 | -120.4891 | ship | 2004 | U | NOAA | Yp | UCSD | Academic | UCSD | California Cooperative Oceanic Fisheries Investigations (CalCOFI) | sea_water_temperature (sfc and 2 depths), sea_water_electrical_conductivity (sfc and 2 depths), dissovled_oxygen (sfc and 2 depths), mass_concentration_of_chlorophyll_in_sea_water (sfc and 2 depths), mole_concentration_of_dissolved_inorganic_carbon_in_sea_water (sfc and 2 depths), mole_concentration_of_nitrate_in_sea_water (sfc and 2 depths), downwelling_photosynthetic_radiance_in_sea_water (sfc and 2 depths), sea_water_speed (sfc and 2 depths), sea_surface_wave_directional_spread (sfc), sea_surface_swell_wave_period (sfc), sea_surface_wave_hieght (sfc), phaeophytin (sfc and 2 depths), HPLC_phytoplankton (sfc and 2 depths), zooplankton (sfc and 2 depths), latitude (sfc), longitude (sfc) | SCCOOS no longer supporting nearshore stations. Now funded by NOAA SWFSC
NA | See notes | Ln 80 | Glider | 32.8288 | -122.8945 | glider | 2006 | Y | SCCOOS - Baseline | N | UCSD | Academic | UCSD | Instrument Development Group | sea_water_temperature (0 to 500 m), sea_water_electrical_conductivity (0 to 500 m), dissovled_oxygen (0 to 500 m), mass_concentration_of_chlorophyll_in_sea_water (0 to 500 m), radial_sea_water_velocity_away_from_instrument (0 to 500 m), acoustic_backscatter (0 to 500 m), sea_water_pressure (0 to 500 m), latitude (0 to 500 m), longitude (0 to 500 m) | Four gliders ran along this line their WMO ID's are 4801901, 4801976, 4801922, and 4801912. Operated by Dan Rudnick
NA | See notes | Ln 80 | Glider- Spray2 | 32.8288 | -122.8945 | glider | 2025 | Y | SCCOOS - Baseline | N | UCSD | Academic | UCSD | Instrument Development Group | sea_water_temperature (0 to 500 m), sea_water_electrical_conductivity (0 to 500 m), dissovled_oxygen (0 to 500 m), mass_concentration_of_chlorophyll_in_sea_water (0 to 500 m), radial_sea_water_velocity_away_from_instrument (0 to 500 m), acoustic_backscatter (0 to 500 m), sea_water_pressure (0 to 500 m), latitude (0 to 500 m), longitude (0 to 500 m) | Four gliders ran along this line their WMO ID's are 4801901, 4801976, 4801922, and 4801912. Operated by Dan Rudnick
NA | See notes | Ln 66 | Glider | 36.8877 | -122.004 | glider | 2006 | Y | NOAA GOMO | N | UCSD | Academic | UCSD | Instrument Development Group | sea_water_temperature (0 to 500 m), sea_water_electrical_conductivity (0 to 500 m), dissovled_oxygen (0 to 500 m), mass_concentration_of_chlorophyll_in_sea_water (0 to 500 m), radial_sea_water_velocity_away_from_instrument (0 to 500 m), acoustic_backscatter (0 to 500 m), sea_water_pressure (0 to 500 m), latitude (0 to 500 m), longitude (0 to 500 m) | Two gliders ran along this line their WMO ID's are 4801900 and 4801921. Operated by Dan Rudnick
NA | See notes | Ln 90 | Glider | 33.407 | -117.6837 | glider | 2006 | Y | NOAA GOMO | Yp | UCSD | Academic | UCSD | Instrument Development Group | sea_water_temperature (0 to 500 m), sea_water_electrical_conductivity (0 to 500 m), dissovled_oxygen (0 to 500 m), mass_concentration_of_chlorophyll_in_sea_water (0 to 500 m), radial_sea_water_velocity_away_from_instrument (0 to 500 m), acoustic_backscatter (0 to 500 m), sea_water_pressure (0 to 500 m), latitude (0 to 500 m), longitude (0 to 500 m) | Multiple gliders ran along this line their WMO ID's are 4801912, 4801930, 4801922, 4801978, 4801901, and 4801958. Operated by Dan Rudnick
NA | See notes | Alongshore Ln | Glider | NA | NA | glider | 2018 | Y | SCCOOS - Fill the Gap Funds | Yp | UCSD | Academic | UCSD | Instrument Development Group | sea_water_temperature (0 to 500 m), sea_water_electrical_conductivity (0 to 500 m), dissovled_oxygen (0 to 500 m), mass_concentration_of_chlorophyll_in_sea_water (0 to 500 m), radial_sea_water_velocity_away_from_instrument (0 to 500 m), acoustic_backscatter (0 to 500 m), sea_water_pressure (0 to 500 m), latitude (0 to 500 m), longitude (0 to 500 m) | Three Spray underwater gliders off the coast of California at all times sending back data on temperature, salinity and ocean currents. An alongshore glider line has been occupied intermittently over the past year. The Fill the Gaps funding will allow this line to be sustained for the year starting in January 2019. Operated by Dan Rudnick

## Sheet2
WMO ID/CMAN ID: These IDs are required for delivery to NDBC, who then repackages the data and delivers to the Global Telecommunication System. If there is no ID assigned (e.g. if a local provider refuses this service) then indicate why in the notes section or risk pushback during the Progress Report review.
Station Deployment: There are 4 options provided. The goal is to understand if the operational longevity of the station.
▪ Funder vs Operator/owner vs Maintainer: These fields likely overlap, especially Operator and Maintainer. The point of these fields is to characterize who is involved in supporting the operations of the station. Particularly, the level of the RA’s involvement.
Platform Funder/Sponsor: Intended to be the current funder/sponsor - the group that pays for the continued operations of the station. e.g. if an RA receives grant money and decides to spend that on a station then the RA is the funder. If this field is unknown (for a non-RA station) then indicate this in the notes.
RA Funding Involvement: If a station is 90% funded by the RA then this is still considered partial (Yp). If you want to indicate this high level of involvement then include that information in the notes field. RA funding is not limited to funds coming into the RA from the IOOS grant. This can be from any source
Variable names: CF standard names are required to ensure submissions are consistent. See http://cfconventions.org/standard-names.html and choose “html” for the latest version. If CF names aren’t available, then the IOOS Parameter Vocabulary must be used. Depths are requested in 5 parentheses following the variable name. See examples in the template.